|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Item No.** | **Qty** | **Product** | **Description** | **Unit Quote Price** | **Extended Quote** |
|  | 1 | Panelboards | PRL1a, 30 Circuits, 225A, Fully Rated, 208Y/120V 3Ph 4W, Tin Plated Copper Bus, 10kAIC, 100A, 3P EDB Main Breaker[Top Fed], Surface Mounted | **$1,703.08** | **$1,703.08** |

|  |  |  |
| --- | --- | --- |
| **Catalog No** | PBSIEDBTD30A |  |
| **Designation** | DIST CNTL BLDG |  |

|  | **Qty** | **List of Materials** |  |  |
| --- | --- | --- | --- | --- |
|  |  1  | 100A, 3P EDB Main Breaker |  |  |
|  |  4  | 20A, 1P BAB Branch Breaker |  |  |
|  |  1  | 50A, 2P BAB Branch Breaker |  |  |
|  |  1  | 40A, 3P BAB-H Branch Breaker |  |  |
|  |  5  | 20A, 3P BAB-H Branch Breaker |  |  |
|  |  1  | 15A, 3P BAB-H Branch Breaker |  |  |
|  |  1  | 60A, 3P BAB-H Branch Breaker |  |  |
|  |  1  | Tin-Plated Copper Main Bus, 225 Amps |  |  |
|  |  1  | Std. Bolted Al Ground Bar (Al/Cu Cable) |  |  |
|  |  1  | Panel Nameplate - White with Black Letters |  |  |
|  |  1  | Type 1 Enclosure: EZB2042R |  |  |
|  |  1  | EZ Trim, Door in Door, Concealed Hardware: EZT2042S |  |  |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Item No.** | **Qty** | **Product** | **Description** | **Unit Quote Price** | **Extended Quote** |
|  | 1 | Panelboards | PRL2X, 30 Circuits, 100A, Fully Rated, 125V DC 2W Ungrounded, Tin Plated Copper Bus, 10kAIC, 100A, 3P PDG23G0100 Main Breaker[Top Fed], Surface Mounted | **$2,600.17** | **$2,600.17** |

|  |  |  |
| --- | --- | --- |
| **Catalog No** | PCNBCABTD30A |  |
| **Designation** | 48VDC DP |  |

|  | **Qty** | **List of Materials** |  |  |
| --- | --- | --- | --- | --- |
|  |  1  | 100A, 3P PDG23G0100 Main Breaker |  |  |
|  |  4  | 20A, 2P GHB Branch Breaker |  |  |
|  |  2  | 1P Branch Provision Only |  |  |
|  |  8  | 15A, 2P GHB Branch Breaker |  |  |
|  |  1  | 30A, 2P GHB Branch Breaker |  |  |
|  |  1  | 80A, 2P GHB Branch Breaker |  |  |
|  |  1  | Tin-Plated Copper Main Bus, 100 Amps |  |  |
|  |  1  | Std. Bolted Al Ground Bar (Al/Cu Cable) |  |  |
|  |  1  | Panel Nameplate - White with Black Letters |  |  |
|  |  1  | Type 1 Enclosure: EZB2042R |  |  |
|  |  1  | EZ Trim, Door in Door, Concealed Hardware: EZT2042S |  |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
|  |  | **Total Quote Price**  |  | **$4,303.25** |

**Eaton Selling Policy 25-000 applies.**

**All orders must be released for manufacture within 90 days of date of order entry. If approval drawings are required, drawings must be returned approved for release within 60 days of mailing. If drawings are not returned accordingly, and/or if shipment is delayed for any reason, the price of the order will increase by 1.0% per month or fraction thereof for the time the shipment is delayed.**

**Seller shall not be responsible for any failure to perform, or delay in performance of, its obligations resulting from the COVID-19 pandemic or any future epidemic, and Buyer shall not be entitled to any damages resulting thereof.**