|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Item No.** | **Qty** | **Product** | **Description** | **Unit Quote Price** | **Extended Quote** |
|  | 1 | Panelboards | PRL3a, 42 Circuits, 250A, Fully Rated, 480Y/277V 3Ph 4W, Copper Bus, 14kAIC, 250A, Main Lugs Only[Top Fed], Surface Mounted | **$2,965.97** | **$2,965.97** |

|  |  |  |
| --- | --- | --- |
| **Catalog No** | PCSKNELTB42C |  |
| **Designation** | F03-2502 |  |

|  | **Qty** | **List of Materials** |  |  |
| --- | --- | --- | --- | --- |
|  | 1 | 250A, Main Lugs Only |  |  |
|  | 4 | 40A, 3P GHB Branch Breaker |  |  |
|  | 30 | 1P GHB Branch Provision Only |  |  |
|  | 1 | Copper Main Bus, 250 Amps |  |  |
|  | 1 | Std. Bolted Al Ground Bar (Al/Cu Cable) |  |  |
|  | 1 | Panel Nameplate - White with Black Letters |  |  |
|  | 1 | Type 3R Enclosure - Galvanized: LWPQ2060G |  |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
|  |  | **Total Quote Price** |  | **$2,965.97** |

**Eaton Selling Policy 25-000 applies.**

**All orders must be released for manufacture within 90 days of date of order entry. If approval drawings are required, drawings must be returned approved for release within 60 days of mailing. If drawings are not returned accordingly, and/or if shipment is delayed for any reason, the price of the order will increase by 1.0% per month or fraction thereof for the time the shipment is delayed.**

**Seller shall not be responsible for any failure to perform, or delay in performance of, its obligations resulting from the COVID-19 pandemic or any future epidemic, and Buyer shall not be entitled to any damages resulting thereof.**