|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Item No.** | **Qty** | **Product** | **Description** | **Unit Quote Price** | **Extended Quote** |
|  | 1 | Panelboards | PRL3a, 11 Circuits, 250A, Fully Rated, 240/120V 3Ph 4W A HiLeg, Tin Plated Copper Bus, 22kAIC, 200A, JD 3P Main Breaker[Top Fed], Surface Mounted | **$10,143.19** | **$10,143.19** |

|  |  |  |
| --- | --- | --- |
| **Catalog No** | PDNKGEBTD18E |  |
| **Designation** | PNL-M |  |

|  | **Qty** | **List of Materials** |  |  |
| --- | --- | --- | --- | --- |
|  | 1 | 200A, JD 3P Main Breaker |  |  |
|  | 1 | 100A, 3P QBHW-H Branch Breaker |  |  |
|  | 2 | 20A, 1P QBHW Branch Breaker |  |  |
|  | 1 | 200A, 3P EDB Branch Breaker |  |  |
|  | 3 | 1P QBHW Branch Provision Only |  |  |
|  | 1 | Tin-Plated Copper Main Bus, 250 Amps |  |  |
|  | 1 | Std. Bolted Al Ground Bar (Al/Cu Cable) |  |  |
|  | 1 | Panel Nameplate - White with Black Letters |  |  |
|  | 1 | Type 4X Enclosure, 316 Stainless Steel: Box, Refer To Factory, 17a |  |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
|  |  | **Total Quote Price** |  | **$10,143.19** |

**Eaton Selling Policy 25-000 applies.**

**All orders must be released for manufacture within 90 days of date of order entry. If approval drawings are required, drawings must be returned approved for release within 60 days of mailing. If drawings are not returned accordingly, and/or if shipment is delayed for any reason, the price of the order will increase by 1.0% per month or fraction thereof for the time the shipment is delayed.**

**Seller shall not be responsible for any failure to perform, or delay in performance of, its obligations resulting from the COVID-19 pandemic or any future epidemic, and Buyer shall not be entitled to any damages resulting thereof.**

**NO SPECS APPLY**

**BID FIRM FOR 30 DAYS**

**TAX NOT INCLUDED**

**PRICE SUBJECT TO CHANGE**

**BILL OF MATERIAL IS SUBJECT TO APPROVAL**

**NON-RETURNABLE NON CANCELABLE**

**Thank you,**

**Brent Newman**

[**newbre@willeelectric.com**](mailto:newbre@willeelectric.com)

**209-460-3348 direct**

**209-943-2441 ext 348**

**Mon – fri 7am-4pm**

X\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Sign for release DATE :\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_